## Slide 1: Measurement and Characterization of a 5T Solenoid Field
Jason Morgan
April 2018

## Slide 2: CLAS12
CEBAF Large Acceptance Spectrometer for 12 GeV
3.58T toroidal magnet
5T Solenoid

## Slide 3: 5T SOLENOID
Shields the detectors from the background
Gides high angle particles to the detector
5 coils, 4 main + 1 shield coil
5T central field at 2416A
Installed September 2017
Magnetic field mapped September – October 2017

## Slide 4: FIELD MAPPING

## Slide 5: FIELD MAPPING
Template board with hole to mount probe tube
38 runs of data were looked at at r=0, r=1.25cm and r=30cm
Runs were conducted with various angles of rotation for r = 1.25cm and r=30cm runs
Probes were rotated in the holder at angles of 90, 180 and 270 degrees

## Slide 6: FIELD MAPPING
Long runs were performed in steps of 2cm spanning a total distance of 200cm
Short fine integral runs were performed in 1mm steps spanning a total distance of 10 cm
Hall probes were inserted in the tubes and pushed down the z axis in 2cm steps for long runs and 1mm steps for short runs

## Slide 7: FINDING THE CENTER
Found the center by reflecting the data about various z values that covered the ranges where the apparent center of the field was located
Performed a χ2 test and selected the minimum χ2
Calculated χ2 for surrounding z values and fit with a quadratic model
Projected this model in 0.01cm steps and selected the minimum to establish the center point for each run
Center z for long runs is 89.8  2.3 cm
Center z for short runs is 53.4 mm  5.0 mm.

## Slide 8: SCALING
The run data for the Bz and By fields was scaled to the model for comparison
All Bx and By at r = 0 were not scaled since they are theoretically 0

## Slide 9: TRANSLATIONS
Probe Rotation (pr) | NormalizedBx = | NormalizedBy =
0 | Bx | By
90 | By | -Bx
180 | -Bx | -By
270 | -By | Bx

## Slide 10: RESULTS

## Slide 11: RESULTS

## Slide 12: RESULTS

## Slide 13: RESULTS

## Slide 14: RESULTS

## Slide 15: RESULTS

## Slide 16: RESULTS

## Slide 17: RESULTS

## Slide 18: RESULTS

## Slide 19: RESULTS

## Slide 20: RESULTS

## Slide 21: RESULTS

## Slide 22: RESULTS

## Slide 23: RESULTS

## Slide 24: RESULTS

## Slide 25: Conclusions and Outlook
Center z values vary by ±2.3cm between long runs
Center z values vary by ±0.50cm between short runs
There appears to be motion on the probe holders other than along the z axis
Isolate contribution of probe motion
Parameterization of the deviations from the model
….